## Lead Test Results
Water Testing Results - | Glendale Elementary School
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Room 110 Drinking fountain | 20000100-DW001 | 2020-12-22 | 10
Room 110 faucet | 20000100-CF002 | 2021-02-19 | 1.4
Room 111 drinking fountain | 20000100-DW003 | 2020-12-22 | 7
Room 111 Faucet | 20000100-CF004 | 2021-02-19 | 3.8
Room 112 Drinking Fountain | 20000100-DW005 | 2020-12-22 | 6
Room 112 Faucet | 20000100-CF006 | 2021-02-19 | 4.2
Room 113 Drinking Fountain | 20000100-DW007 | 2020-12-22 | 9
Room 113 Faucet | 20000100-CF008 | 2021-02-19 | 5
Room 114 Drinking Fountain | 20000100-DW009 | 2020-12-22 | ND
Room 114 Faucet | 20000100-CF010 | 2021-02-19 | 2.6
Room 115 Drinking Fountain | 20000100-DW011 | 2020-12-22 | 5
Room 115 Faucet | 20000100-CF012 | 2021-02-19 | 2.6
Room 116 Drinking Fountain | 20000100-DW013 | 2020-12-22 | ND
Room 116 Faucet | 20000100-CF014 | 2021-02-19 | ND
Room 117 Drinking Fountain | 20000100-DW015 | 2020-12-22 | 4
Room 117 Faucet | 20000100-CF016 | 2021-02-19 | 1.1
Library office sink | 20000100-SF017 | 2020-12-22 | 37
Room 107 Drinking Fountain | 20000100-DW018 | 2020-12-22 | ND
Room 107 Faucet | 20000100-CF019 | 2021-02-19 | ND
Room 108 Drinking Fountain | 20000100-DW020 | 2020-12-22 | 6
Room 108 Faucet | 20000100-CF021 | 2021-02-19 | 2.9
Room 105 Drinking Fountain | 20000100-DW022 | 2020-12-22 | 4
Room 105 Faucet | 20000100-CF023 | 2021-02-19 | 1.9
Room 106 Drinking Fountain | 20000100-DW024 | 2020-12-22 | 4
Room 106 Faucet | 20000100-CF025 | 2021-02-19 | 1.8
East Hall Restroom Sink | 20000100-BF026 | 2021-02-19 | ND
West Hall Boys Restroom Faucet | 200001000-BF027 | 2021-02-19 | 4.2
Room 104 Drinking Fountain | 20000100-Dw028 | 2020-12-22 | 11
Room 104 Faucet | 20000100-CF029 | 2021-02-19 | 7.8
Room 101 Drinkinh Fountain | 20000100-DW030 | 2020-12-22 | 10
Room 101 Faucet | 20000100-CF031 | 2021-02-19 | 9.3
Nurses Office Sink | 20000100-NS032 | 2021-02-19 | ND
Staff Room Faucet | 20000100-SF033 | 2020-12-22 | 3
Staff Womens Restroom Faucet | 20000100-BF034 | 2021-02-19 | 1.8
Staff Mens restroom Faucet | 20000100-BF035 | 2021-02-19 | 1.3
Lobby Drinking Fountain | 20000100-DW036 | 2020-12-22 | ND
Lobby Mens Restroom left faucet | 20000100-BF037 | 2021-02-19 | 2.1
Lobby Mens Restroom center faucet | 20000100-BF038 | 2021-02-19 | 2.5
Lobby Mens Restroom Right Faucet | 20000100-BF039 | 2021-02-19 | 5.5
Lobby Womend Restroom left Faucet | 20000100-BF040 | 2021-02-19 | 3.1
Lobby Womens Restroom center faucet | 20000100-BF041 | 2021-02-19 | 2.1
LobbyWomens Restroom Right Faucet | 20000100-BF042 | 2021-02-19 | 2.4
Kitchen Right Dish Faucet | 20000100-KF043 | 2021-02-19 | 1.8
Kitchen Left Dish Faucet | 20000100-KF044 | 2021-02-19 | 5.3
Kitchen Hand Wash Sink Faucet | 20000100-KF045 | ND | ND
Kitchen Prep Sink Faucet | 20000100-KF046 | 2021-02-19 | 6
Gym Drinking Fountain | 20000100-DW047 | 2020-12-22 | ND
Music Room Faucet | 20000100-CF048 | 2021-02-19 | 5.3
Art Room Faucet | 20000100-CF049 | 2021-02-19 | 3.3
Boys Locker Room Faucet | 20000100-CF1050 | 2021-02-19 | 1.9
Girls Locker Room Faucet | 20000100-CF051 | 2021-02-19 | 3.2
Any fixture testing at or above the action level of 15 ppb is IMMEDIATELY removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Library office sink | 20000100-SF017 | 2021-02-19 | 5.3
ND = Non Detect - Lead level is below the set detection limits |  |  | of X ppb