## Lead Test Results
Water Testing Results - | High School Concessions
Action Level is 15 parts per billion (ppb)
Fixture Location/Description | Fixture ID # | Test Date | Test Result
Football Concessions Sink | 20000204-KF001 | 2020-12-22 | 21
Football Mens Room Sink | 20000204-BF002 | 2021-02-12 | 2.7
Football Womens Room Sink | 20000205-BF003 | 2021-02-12 | 2.1
Softball Concessions Sink | 20000205-KF004 | 2020-12-22 | 143
Football Concessions Ice Machine | 20000204-IM005 | 2021-02-12 | 5
Football Field Drinking Fountain | 20000204-DW006 | 2020-12-22 | 12
Softball Field Drinking Fountain | 20000205-DW007 | 2020-12-22 | 11
Baseball Dugout Drinking Fountain-HM | 20000206-DW008 | 2021-02-12 | ND
Baseball Dugout Drinking Fountain-GST | 20000206-DW009 | 2021-02-12 | 1.1
Any fixture testing at or above the action level of 15 ppb is IMMEDIATELY removed from service and cannot be returned to service until it has been remediated and passed follow-up testing
RETESTS
Football Concessions Sink | 20000204-KF001 | 2021-02-12 | 2.6
Softball Concessions Sink | 20000205-KF004 | 2021-02-12 | ND
ND = Non Detect - Lead level is below the set detection limits |  |  | of X ppb